Chapter 1 FE EXAM FORMATTED PROBLEMS

  - A residential development of 320 houses is being planned. For planning purposes an average daily consumption of 120 gpcd is used. Estimate the average daily volume of water that must be supplied to this development if each house is occupied by 4 people.

  - The maximum day demand for a current population of people is 90 MGD. The maximum day demand 20 years from the current estimate is 120 MGD. The following assumptions were made for the estimate: peaking factor = 1.5; average day demand remains constant at 150 gpcd over the 20 year period; population growth is exponential. What annual rate of population growth was used for the estimate?

  - State University has a resident population of 43,000. If the average day demand is 300 Lpcd, what average flow rate per day (in m3/d) for a community of 20,100 that has an average day demand of 960 Lpcd.

  - If 60 percent of the average household water use in a dry climate is used outside of the house, what is the estimated wastewater flow rate (in m3/d) for a community of 20,100 that has an average day demand of 960 Lpcd.