Procedure: Fecal Occult Blood Testing Using the Guaiac Testing Method

Procedure Goal: To test for the presence of blood in a fecal sample

OSHA Guidelines:

Materials: Fecal occult blood testing cards or slides, fecal collection spoon or other device, written patient instructions, testing reagents

Method:

- Confirm the patient’s identity and check that all forms are completed correctly

- Label the occult blood testing card or slide with the patient’s name and date of birth. Give the patient the test card or slide and collecting spoon or applicator

- Give the patient pretest and collection instructions including:

  - Do not collect sample if you are menstruating or if visible blood is seen in the feces or toilet

  - For three days prior to collecting the sample, avoid red meats (beef, veal, and lamb), horseradish, vitamin C supplements, some fruits and vegetables, aspirin or other non-steroidal anti-inflammatory drugs, other medications including corticosteroids. (Consult the specific test instructions for dietary and medication restrictions as these may vary from test to test)

Rationale

Some foods and medications may cause a false positive or a false negative test result.

  - Instruct the patient to collect the samples (depending on the specific test) on two or three different days.

  - Collect the specimen before it comes into contact with the toilet water. (The patient may use a clean container or a specimen collection hat.)

Rationale

Chemicals in the toilet could interfere with the test.

  - Place small amount of fecal material on each slide or test card window with the . The sample should be thinly smeared in the sample area.

  - Close the card window or place the slide in the provided container, write the collection date on the card or slide.

  - Return the card or slide to the office

Processing the test

- Wash your hands and put on gloves

- Open the back of the card and add the recommended amount of developing reagent directly over the smeared area on the back side of the paper

- Read the test results at the appropriate time according to the manufacturer’s instructions. (usually within 60 seconds) There will be a blue color on the guaiac paper if blood is present.

- Perform the quality control test, if present, according to the manufacturer’s instructions. The positive side should be blue and the negative side should have no color.

Rationale

To ensure that the test is working correctly

- Dispose of the testing card according to OSHA regulations.

- Remove your gloves and wash your hands.

- Document the results in the patient’s chart.