## Slide 1
Electricity
Principles & Applications
Eighth Edition
Chapter 4
Circuit Components
(student version)
Richard J. Fowler
McGraw-Hill
© 2013 The McGraw-Hill Companies Inc. All rights reserved.
4 - <number>

## Slide 2
INTRODUCTION
Cell Characteristics (65)
Testing Lamps (78)
Resistor Color Codes (84)
Types of Switches (87)
Testing Fuses (96)
4 - <number>

## Slide 3
Dear Student:
This presentation is arranged in segments. Each segment
is preceded by a Concept Preview slide and is followed by a
Concept Review slide. When you reach a Concept Review
slide, you can return to the beginning of that segment by
clicking on the Repeat Segment button. This will allow you
to view that segment again, if you want to.
4 - <number>

## Slide 4
Concept Preview
Carbon-zinc cells have the least
stable output voltage of all the cells.
(72)
A cell’s output voltage decreases as
the cell is discharged.
(72)
An incandescent lamp can be
tested with an ohmmeter.
(78)
A flasher lamp is controlled
by a bimetallic strip.
(77)
4 - <number>

## Slide 5
2.8
1.5
1.25
Volts
% of discharge
0 50 100
Lithium
Silver oxide
Nickel-cadmium
Alkaline-man.dio.
Carbon-zinc
Cell Characteristics
(66)
4 - <number>

## Slide 6

When the lamp is not
blown, it’s resistance
will be less than one
kilohm.
When the lamp is blown (open) it’s resistance will be infinite.
<1k
Testing A Lamp
(78)
4 - <number>

## Slide 7
The next slide shows how a neon lamp responds to dc,
then to ac, and then again to dc.
Neon Lamp
(page 78)
4 - <number>

## Slide 8
(Please wait for the image to load and display.)
Click play if the video does not start automatically.
4 - <number>

## Slide 9
Cell
Just click the
mouse one time
and watch the
action
ON
OFF
Operation of a Flasher Lamp
(77)
4 - <number>

## Slide 10
Exploding Neon Lamp
The next slide shows what can happen to a neon
lamp when the current limiting resistor shorts out.
(78)
4 - <number>

## Slide 11
(Please wait for the image to load and display.)
Click on the image to rerun the display.
4 - <number>

## Slide 12
Cell and Lamp Quiz
The ____ cell has the most output voltage.
The ____ cell has the least output voltage.
The ___ cell’s voltage drops most
rapidly when it is discharging.
The nominal voltage of the alkaline-
manganese dioxide cell is ____ volts.
A blown lamp has a(n) ____ resistance.
lithium
nickel-cadmium
carbon-zinc
1.5
infinite
4 - <number>

## Slide 13
Concept Review
A cell’s output voltage decreases as
the cell is discharged.
An incandescent lamp can be
tested with an ohmmeter.
A flasher lamp is controlled
by a bimetallic strip.
Carbon-zinc cells have the least
stable output voltage of all the cells.
Repeat Segment
4 - <number>

## Slide 14
Concept Preview
The value and tolerance of a resistor
can be determined from its color code.
SPDT and DPDT are abbreviations
used to identify toggle switches.
DP3P specifies a rotary switch.
A shorting (make-before-break)
switch is a rotary switch.
A fuse has very low resistance.
4 - <number>

## Slide 15
Resistor Color Codes
Yellow
4
10 %
Silver
7
Violet
00
Red
(page 85)
4 - <number>

## Slide 16
Green = 5
Blue = 6
Orange = 3
Gold = 5 %
56 x 103  5 % =
56000  5 % =
56 k 5 %
Resistor Color Codes
(page 85)
4 - <number>

## Slide 17
4
0 0 0
6
4
 2%
= 464 k 2%
Resistor Color Codes
(page 85)
4 - <number>

## Slide 18
The next slide shows what can happen when the
power rating of the wire-wound resistor shown
below is greatly exceeded.
Overheated Resistor
(page 82)
4 - 18

## Slide 19
Burning Resistor
(Please wait for the image to load and run.)
Click play if the video does not start automatically.
4 - <number>

## Slide 20
Toggle Switches
Single-pole, single-throw
(SPST)
Single-pole, double-throw
(SPDT)
Double-pole, single-throw
(DPST)
Double-pole, double-throw
(DPDT)
(page 50)
4 - <number>

## Slide 21
Single-pole, three-position
(SP3P)
OR
OR
Double-pole, three-position
(DP3P)
Rotary Switches
(page 88)
4 - <number>

## Slide 22
Make-Before-Break (Shorting) Switch
In position 1
(page 89)
4 - <number>

## Slide 23
Make-Before-Break (Shorting) Switch
In transition from position 1 to position 2
4 - <number>

## Slide 24
Make-Before-Break (Shorting) Switch
In position 2
4 - <number>

## Slide 25
This switch, which is controlling a ¾-hp motor, has its sides cut away
so that you can observe contact arcing caused by an inductive load.
This slide shows contact arcing twice with a time delay between
the arcing events. Notice that the arcing occurs when the switch opens.
Click on the switch picture to see the action.
To see the action again, click on the picture again.
contacts
ARCING SWITCH CONTACTS
(page 89)
4 - <number>

## Slide 26
The circuit in the above schematic diagram will be constructed on
the breadboard shown below.
On this board the five contact points in each group are electrically
connected together and each group is electrically insulated
from all other groups.
Groups of five contact points
- V1
+ V1
These two
groups will
have V1
connected
to them
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
CONSTRUCTING AN LED CIRCUIT ON A BREADBOARD
(page 86)
4 - <number>

## Slide 27
- V1
+ V1
These two
groups will
have V1
connected
to them
First, attach lead wires to the six terminals of S1 and then connect these
wires to six different five contact groups on the breadboard. Color the switch
symbol red to show that it has been installed on the board.
The lead wires are arranged consecutively starting with t1 on the left and
ending with t6 on the right.
This switch is a DPDT toggle switch with a center off position. When the
handle is in the left position, t2 and t3 are connected and D1 is turned on.
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
4 - <number>

## Slide 28
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Install the resistors on the breadboard and color the resistor symbols red.
Notice that the ends of the resistors are connected to separate contact groups.
4 - <number>

## Slide 29
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Next install the two LEDs and color the schematic symbols red.
The leads for the LEDs are connected to separate five-contact groups.
The positive (anode) terminals of the LEDs are toward the resistors.
4 - <number>

## Slide 30
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
- V1
+ V1
These two
groups will
have V1
connected
to them
Make a connection between +V1 and t2. Color the connection on the
diagram red to keep track of which connections have been made.
4 - <number>

## Slide 31
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Connect t4 to t2 and color the connection red. Note that t4 could
have been connected to +V1 instead of t2.
- V1
+ V1
These two
groups will
have V1
connected
to them
4 - <number>

## Slide 32
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Connect t3 to R1 and t5 to R2. Color the connections red.
- V1
+ V1
These two
groups will
have V1
connected
to them
4 - <number>

## Slide 33
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Connect t1 to t3 and color the connection red. Note that t1 could have been connected to R1 instead of t3.
- V1
+ V1
These two
groups will
have V1
connected
to them
4 - <number>

## Slide 34
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Connect R1 to the D1 anode (+end) and R2 to the D2 anode (+end).
Color the connections red.
- V1
+ V1
These two
groups will
have V1
connected
to them
4 - <number>

## Slide 35
- V1
+ V1
These two
groups will
have V1
connected
to them
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Connect the cathode of D2 to the – side of V1. Then connect
the cathodes of the two diodes together. Color the connections red.
4 - <number>

## Slide 36
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
- V1
+ V1
V1 is now
connected
to the two
five-contact
groups.
Connect V1 (8 volts) to the two five-contact groups and color the V1 symbol red.
Even though the circuit is complete, neither LED is glowing because
the switch is in the off (center) position.
4 - <number>

## Slide 37
+ V1
V1 is now
connected
to the two
five-contact
groups.
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
Since the schematic diagram is all red, the circuit should function properly.
IT DOES SO FAR!
The yellow LED is glowing when the switch is in the left position.
- V1
4 - <number>

## Slide 38
+ V1
V1 is now
connected
to the two
five-contact
groups.
t1
t2
t3
t5
t4
t6
V1
R1
D1
R2
D2
S1
yellow
green
1k
1k
When the switch is toggled to the right, both the yellow LED
and green LED glow as they should..
THE CIRCUIT IS FULLY FUNCTIONAL.
- V1
4 - <number>

## Slide 39
Testing A Fuse

When the fuse is not
blown, it’s resistance
will be less than one
ohm.
When the fuse is
blown (open) it’s resistance will be infinite.
<1
(page 96)
4 - <number>

## Slide 40
This slow-blow fuse was blown by
a very large over-current. Notice
that the spring is still in place.
Blown Fuse
(1st case)
(page 90)
4 - <number>

## Slide 41
This material connects the fuse element sections
together. When the over-current is small, the
alloy slowly softens and weakens. Then the
spring
Spring
When the over-current is extremely large,
this section immediately burns open.
pulls the element sections apart.
Slow-Blow Fuse
(page 89)
4 - <number>

## Slide 42
Blown Fuse
(2nd case)
This slow-blow fuse was blown by
a small over-current. Notice that
the spring has retracted a section
of the fuse element.
4 - <number>

## Slide 43
Slow-Blow Fuse in Action
(Please wait for the image to load and display.
Watch the alloy melt and the spring retract.)
Click play if the video does not start automatically
4 - <number>

## Slide 44
Resistor, Switch and Fuse Quiz
A resistor with yellow, violet, red, and gold
bands has a resistance of ____ kilohms.
A resistor with red, red, red, red, and red
bands has a resistance of ____ kilohms.
The ____ switch can provide the most
switching functions.
The ____ switch can be either a shorting
or a non-shorting switch.
A fuse with infinite resistance is a ____ fuse.
4.7 ± 5%
22.2 ± 2%
rotary
rotary
blown
Switch contacts arc when the contacts ____.
open
4 - <number>

## Slide 45
Concept Review
The value and tolerance of a resistor
can be determined from its color code.
SPDT and DPDT are abbreviations
used to identify toggle switches.
DP3P specifies a rotary switch.
A shorting (make-before-break)
switch is a rotary switch.
A fuse has very low resistance.
Repeat Segment
4 - <number>

## Slide 46
Review
Cell Characteristics
Testing Lamps
Resistor Color Codes
Types of Switches
Testing Fuses
4 - <number>